## Time reference activities_Table
Description | Component | COMMON WORKER (minutes) | SKILLED WORKER (minutes) | SPECIALIZED WORKER (minutes) | TECHNICAL STAFF (minutes)
Night inspections of lighting system | INSPECTION / CENSUS | 0.312 | - | - | 0.18
Lamp replacement | LAMP | 13.2 | - | 13.2 | 13.2
Luminaires Replacement | LUMINAIRE | 30 | - | 30 | 30
Pole Replacement | POLE | 193.2 | 159.6 | 36 | 0 | Cumulative voice
Pole Removal |  | 90 | 45 | - | -
Pole Installation |  | - | - | - | -
Digging |  | 30 | 42 | - | -
Foundation Plinth execution |  | 30 | 21 | - | -
Pole Installation |  | 43.2 | 51.6 | 36 | -
Bracket replacement | BRACKET | 36 | 45 | 27 | 0 | Cumulative voice
Bracket Removal |  | 36 | 18 | - | -
Bracket Installation |  | - | 27 | 27 | -
Luminaire Installation | LUMINAIRE | 36.9 | 0.9 | 49.2 | 0 | Cumulative voice
Luminaire Installation |  | 25.2 | - | 25.2
Cable Installation |  | 0.48 | 0.48 | - | -
Manhole Installation |  | 0.42 | 0.42 | - | -
Junctions Installation |  | 10.8 | - | 24
Optics cleaning | LUMINAIRE | 12 | 12 | - | -
Power switchboard inspection including maintenance and lines insulation resistance testing | POWER PANELS | - | - | - | 24
Power switchboard inspection including maintenance and circuit breaker timing tests |  | - | - | 66 | -
Insulation resistance measurement |  | - | - | 42 | 12
Earth ground resistance testing | POWER PANELS
Anticorrosion poles base protection replacement | POLE | 60 | - | - | -
Power suppliers replacement | LUMINAIRE/LAMP
Lamp replacement (on failure) | LAMP | 21.6 |  | 21.6
Extra charge for accessories' replacement | LUMINAIRE | 1.8 |  | 1.8
Juctions replacement | LINE
Juctions box replacement | LINE | 36 | 18 | - | -
Aerial cable replacement | LINE | 72 | 144 | - | -
Terminal block replacement | LINE | - | 18 | - | -
Labeling | INSPECTION / CENSUS | 3.9 | - | - | -